Sprite AC - SU3E1 - 028276 (Family) (Model) (Part Number) Detailed Drawing Printer-Friendly Datasheet Electrical Specifications Rated Voltage: 230 VAC AC Frequency: 60 Hz Power Supply: 10.0 Watts Line Current: 0.06 Amps Locked Rotor Current 0.08 Amps Nominal Speed: 2600 RPM Mechanical Specifications Dimensions: 3.15in x 1.65in Weight 18.0 oz Max Airflow @ 0 in H2O 25.0 CFM Max Pressure @ 0 CFM 0.123 in H2O Noise 32.2 dBA

Mechanical Drawing